## Slide 1: Motion Tracking Comparison of HTC Vive and Vicon
Yuanqing Hong, Xin Jin

## Slide 2: Method
Labview
Computer2
Computer1
Vicon
Unity
UDP
Wand
Tracker

## Slide 3: Experiments
3 Sets of Data
Geometric Error for Position
RMS
Max
2.7mm
10.2mm
6.7mm
30.2mm
5.0mm
24.3mm
Set1: Translation Movement
Set2: Rotation Movement
Set3: Random Movement
(movement range: around 1 meter)

## Slide 4: Orientation
Rotation Matrix
Euler Angles
Quaternion
Vicon
Vive
Step1
Vicon
Vive
Step2
Vicon
Vive
Step3
Vicon
Vive
ZYX
XYZ

## Slide 5: Set1: Translation Movement
Z
Y
X
Error (degrees)
3.5
2.6
0.2
5.0
3.9
1.1
RMS
Max
Euler Angles: Z-Y-X

## Slide 6: Set1: Translation Movement
X
Y
Z
Error (degrees)
0.27
3.5
2.7
3.5
4.9
3.3
RMS
Max
Euler Angles: X-Y-Z

## Slide 7: Set3: Rotation Movement
Euler Angles: Z-Y-X
Z
Y
X
Error (degrees)
8.2
3.1
1.4
14.0
5.2
4.6
RMS
Max

## Slide 8: Set3: Rotation Movement
Euler Angles: X-Y-Z
X
Y
Z
Error (degrees)
2.7
7.9
4.5
17.6
12.9
17.1
RMS
Max

## Slide 9: Summary
Orientation Error for Euler Angles (Z-Y-X)
RMS
Max
Set1: Translation Movement
Set2: Rotation Movement
Set3: Random Movement
(Unit: degrees)
Z
Y
X
Z
Y
X
Z
Y
X
3.5
2.6
0.2
5.0
3.9
1.1
Z
Y
X
Z
Y
X
Z
Y
X
8.2
3.1
1.4
14.0
5.2
4.6
0.3
2.2
3.7
2.0
3.0
6.1

## Slide 10: New Experiment
Labview
Computer2
Computer1
Vicon
Unity
UDP
LocalFile
Computer2
Computer1
Vicon
Unity
LocalFile
Synchronized by system clock
Vicon Sampling Time: 240Hz (193Hz)
Vive Sampling Time: 120Hz (89Hz)

## Slide 11: Methods
Previous Method
Current Method

## Slide 12: Translation Movement
X
Y
Z
Error (mm)
1.9
4.2
2.1
7.9
21.1
11.6
RMS
Max

## Slide 13: Rotation Movement
X
Y
Z
Error (mm)
4.6
2.0
3.1
8.3
33.0
15.6
RMS
Max

## Slide 14: Random Movement
X
Y
Z
Error (mm)
4.9
4.6
3.0
13.0
10.9
9.8
RMS
Max

## Slide 15: Comparison
RMS
Max
2.7mm
10.2mm
6.7mm
30.2mm
5.0mm
24.3mm
Set1: Translation Movement
Set2: Rotation Movement
Set3: Random Movement
RMS
Max
5.1mm
22.7mm
5.9mm
36.5mm
7.4mm
20.8mm
Geometric Error Comparison
Previous Method
Current Method